## Intro.
Kolbe & Kolbe Millwork Co. Inc. | Rev: 5Jul06'
INTRODUCTION TO INSTALLATION ANCHOR CALCULATOR WHO USES THIS WORKBOOK CALCULATOR: This workbook calculatoris provided by Kolbe & Kolbe for the Window Installers who are required to correctly install windows. Various guides & standards (including ASTM E2112) and Kolbe installation instructions and information documents - advise on proper flashing and sealing of windows and doors. But convenient information on what type & how many anchors to use for particular window/door sizes is less readily available and calculations can appear daunting. Manufacturers of windows and doors and their distributors are not familiar with all the project where their windows and doors are installed. The are familiar with the pressure ratings of their products, but cannot provide installation anchor designs and schedules for all projects. Thus selecting the best way to anchor, flash & seal window/door products is usually left to the Window Installer who is on the site, who can consult with the contractor, engineer, architect, building owner, and building code official - as needed. Some of these parties can help determine the required "site wind pressure", which is necessary for using this calculator. HOW TO USE THIS WORKBOOK: This Excel file has three other worksheets. One is the actual calculator that quickly determines the required number and spacing of anchors. Before using the calculator and the calculated results, carefully read the entire calculator page and the information worksheet(s) for the particular anchor type desired. An installer should be familiar with the assumptions the calculator relies upon. Then the installer will know when the results may not be appropriate and when to consult others. Kolbe knows there are many possible installation designs and that the four anchor types included here cannot cover all situations. Thus the "Special Anchor Design" option permits the installer to use a different anchor type or design. A design professional familiar with project requirements should determine the load capacity of any special anchor designs. The user enters information only in the calculator's yellow colored cells. All other cells and worksheets are password protected to prevent accidental changes. YOUR BUILDING INSPECTOR: Usually the Building Inspector is familiar with wind speed, required site wind pressure and other special requirements of a particular area. Work with your building inspector.

## Calculator
Revision 05Jul06' | [8 empty] | Date Printed | 2026-07-28 08:24
KOLBE WINDOWS & DOORS
INSTALLATION ANCHOR CALCULATOR
[12 empty] | 24 | inches = Max. distance, anchor-corner, anchor-anchor
| Pepared by; | [10 empty] | 0.5 | = Round Down limit for anchors |  |  |  | 24 | inches = Max dist between anchors or corners. See Tables 6, 7, 8. | [89 empty] | TABLE 7. | [24 empty] | TABLE 8.
| Distributer: | [10 empty] | 8 | inches = Min. distance, anchor-corner |  |  |  | 0.5 | = Round down limit for # anchors on short side. If .501 anchors are required then will not round down to 0 anchors and shift requirement to long side. | [66 empty] | TABLE 6. | [22 empty] | If it is a Long Side return value from previous table. | [24 empty] | If it is a Long Side return value from previous table.
| Contact: | [12 empty] | TABLE 2. |  |  |  | Works the same for 1.500, 2.500, 3.500, …. Anchors required. See tables 7 & 8. | [5 empty] | TABLE 3. | [10 empty] | TABLE 4. | [24 empty] | TABLE 5. | [24 empty] | If it is a short side return -1
| Project: | [10 empty] | 140 |  |  |  |  | 8 | inches = Minimum distance of anchor from corner for Spacing. See table 1 | [41 empty] | Roundedup Total Number of Anchors Required Per Edge | [24 empty] | If it is a Long Side, Check Against 24" Max Separation Rule & Bump Up # of Anchors if reqd | [22 empty] | If it is a Short Side (-1 in previous table) return the minimum allowable # of Anchors based upon: | [24 empty] | If it is a Short Side (-1 in previous table) return the minimum allowable # of Anchors based upon:
| Comments: | [58 empty] | Without Rules Applied. | [47 empty] | 1. if short side has <.5 raw req'd anchors can decrease by 1, if the long side round up covers the decrease. | [24 empty] | 1. if short side has <.5 raw req'd anchors can decrease by 1, if the long side round up covers the decrease.
[12 empty] | 140 | [95 empty] | 2. check short side vs. 24" rule, ie if <= 24" can be 0.00 anchors. If <=48" can be 1.0 anchors…. up to 4 anchors | [24 empty] | 2. check short side vs. 24" rule, ie if <= 24" can be 0.00 anchors. If <=48" can be 1.0 anchors…. up to 8 anchors
|  | 50 | = psf, Design Pressure required | [10 empty] | Area Table, ft2 | [8 empty] | Raw Calculated Total Number of Anchors Required | [11 empty] | Raw Calculated Total Number of Anchors Required Per Edge per AAMA model Tributary Areas.
|  | 40 | Frame Width, in. Individual Unit | [13 empty] | WIDTH | [8 empty] | WIDTH | [38 empty] | WIDTH | [27 empty] | WIDTH | [20 empty] | WIDTH | [24 empty] | WIDTH
|  | 72 | Frame Height, in. Individual Unit | [8 empty] | 40 |  | Special Anchor Design rated at | 0 | #REF! | #REF! |  | #REF! | 0 | 0 |  | 40 | Special Anchor Design rated at | 0 | #REF! | #REF! | #REF! | 0 | 0 |  | 40 |  |  | Special Anchor Design rated at |  |  | 0 |  | WIDTH | #REF! |  |  | #REF! |  |  | #REF! |  |  | 0 |  |  | 0 |  |  |  | 40 |  |  | Special Anchor Design rated at |  |  | 0 |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | 0 |  |  | 0 |  |  |  | 40 |  |  | Special Anchor Design rated at |  |  | 0 |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | 0 |  |  | 0 |  |  |  | 40 |  |  | Special Anchor Design rated at |  |  | 0 |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | 0 |  |  | 0 |  |  |  | 40 |  |  | Special Anchor Design rated at |  |  | 0 |  |  | #REF! |  |  | #REF! |  |  | #REF! |  |  | 0 |  |  | 0
|  | x | = X, if anchors along sill. Hung windows often have no anchors along sill. | [28 empty] | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill |  | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill |  | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill |  | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill |  | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill | S.Jamb | H Jamb | Sill
|  |  | x | Kolbe Installation Clips w Nailfin/Brickmold, rated at 140 pounds/clip. | [6 empty] | 72 | 20 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 72 | 7.1429 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 72 | 2.5794 | 0.99206 | 0.99206 | 3.2143 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 3 | 1 | 1 | 4 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 3 | -1 | -1 | -1 | #VALUE! | #VALUE! | 2 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 2 | -1 | -1 | 2 | -1 | -1 | 72 | 3 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 2 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 2 | 0 | 0 | 2 | 0 | 0 | 72 | 3 | -1 | 0 | #VALUE! | #VALUE! | #VALUE! | 2 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 2 | -1 | 0 | 2 | -1 | 0
|  | Select |  | Attached per Kolbe Installation Clip Instructions. | [6 empty] | #REF! | #REF! |  | #VALUE! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | One |  | Screws-Thru-Frame, rated at 93.3 pounds/screw.
|  |  |  | Attached per Kolbe Screw Through Frame Instructions. | [6 empty] | #REF! | #REF! |  | #VALUE! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | Special Anchor Design rated at |  |  | pounds/anchor. |  |  |  | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
Rating Determined By Others.
[5 empty] | Anchor | Corner | Total | Design Pressure
|  | Anchors |  | Total | Spacing | To Anchor | Number | Based on number |  |  | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!
|  | Along |  | Per Edge | o.c., in. | Spacing, in. | of Anchors | of Anchors, psf.
|  | Sidejamb |  | 3 | 18 | 18 | 8 | 56
|  | Headjamb |  | 1 | NA | 20 |  |  |  |  | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
|  | Sill |  | 1 | NA | 20 |  |  |  |  | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
Notes; 1. How It Works - The user enters site required windload, rectangular unit's frame width & height, and "x" if anchors are along the sill. This calculator only handles one anchor type at a time. Example- if a door has one kind of anchor(clips) along head and sidejambs, and a different anchor(screws) along sill, then two printouts would be required. Results give number of anchors along each edge, distance from corner to first anchor, spacing between anchors, total number of anchors, and the installation's design pressure based upon anchor load capacity. Calculator Assumptions include a 24" max anchor-to-anchor & 24" max corner-to-anchor distances, 9.5" min corner-to-anchor distance, and allows shifting less than 0.5 required anchors from short edge to long edge, to minimize total number of anchors. 2. The installer can enter his own Special Anchor Design if anchor load capacity has been determined. 3. On non-rectangular units, use the rectangular size the unit fits into. Determine the total number of anchors required and apply that number of anchors to straight & radius edges. 4. For composite units with multiple sash within one continuous frame, user must calculate as if it were several smaller one sash units. Example; a 6'x8' double door would be analyzed as if it were two 3'x8' single doors side-by-side. Additional anchors are require at the ends of integral mulls and meeting stiles & meeting rails. Only hung & slider windows are exempt from this. For multi-unit mulled combination assemblies calculate each unit separately for anchors and attach anchors to available outside edges. Additional anchors at mull ends will likely be required. 5. The installer is responsible for consulting with general contractor, engineer, architect, building code official, as well as building codes and ordinances, to determine all requirements including site windload. The project's windows/doors should have rated design pressure that meets or exceeds site windload. 6. Sealing and flashing for air & water tightness is not addressed by this calculator. Consult other Kolbe installation documents and follow good practices such as ASTM E2112. Kolbe's policy is that field tests when specified are per AAMA 502-02' without the section 4.9 NOTE increase, unless approve by Kolbe in writing. 7. Installer's responsibility - This calculator assumes rough opening material/lumber quality and fasteners are adequate for the required loads. The selection of an appropriate installation technique is the installer's responsibility. Also job site installation, site mulling, mull anchorage, rough opening design, fastening individual units into a rough opening, or assembly of Kolbe products are the installer's responsibility. 8. Some codes require the use of pressure-treated lumber to line rough openings. Corrosion resistant materials such as stainless steel or hot-dipped galvanized steel must be used for fasteners and anchors having direct contact with pressure-treated lumber. 9. See additional sheets herein for anchor descriptive information. | [10 empty] | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
[11 empty] | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
[11 empty] | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
[11 empty] | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
[11 empty] | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
[11 empty] | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
[11 empty] | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
[11 empty] | 0 | 0 |  | #VALUE! | 0 | #REF! | #REF! |  | #REF! | 0 | 0 | 0 | 0 | #VALUE! | 0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | -1 | #VALUE! | #VALUE! | 0 | -1 | -1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | -1 | 0 | -1 | -1 | 0 | 0 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 1 | 1 | #VALUE! | #VALUE! | #VALUE! | 0 | -1 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | -1 | 0 | 0 | -1 | 0
[32 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [26 empty] | x | x | x | x | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | [26 empty] | x | x |  | x | x |  | x | x |  | x | X |  | x | X |  | x | X |  | x | X |  | x | X
[107 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x